## Slide 1: Putting it Back Together
Develop Compliance Programs designed to meet:
  Generic Legislation
  Site-Specific Permits
  Internal Requirements (ISO certification, corporate mandates and policies)
  Expectations from External Parties (NGOs, Indigenous Communities, Special Interest Groups)
Pull all the pieces together into:
  Tables, Charts
  Procedures and Programs
  Action Plans and Checklists
  Schedules/Calendars
Notes: Compliance Programs designed to meet:
  Generic Legislation
  Site-Specific Permits
  Internal Requirements (ISO certification, corporate mandates and policies)
  Expectations from External Parties (NGOs, Indigenous Communities, Special Interest Groups)
Pull all the pieces together into:
  Tables, Charts
  Procedures and Programs
  Action Plans and Checklists
  Schedules/Calendars

## Slide 2: Water Compliance Program/Manual
Example Table of Contents
Design Requirements
Monitoring Requirements
Limits
Required Activities
Reporting Requirements
Introduction and Description
Description of water management systems, referencing drawings, and limitations in permits (e.g. 1000 lpd water treatment capacity)
Monitoring Program
Table(s) summarizing all monitoring requirements from all sources, referencing schedules where appropriate
Figures for locations (with Coordinates)
Include where and how data is managed
Limits
Table(s) summarizing all limits and how these are “flagged”
Other Requirements – (TOC Entry to reflect the requirement)
Reference to schedules or procedures for other requirements (e.g. conducting emergency drill exercises)
Reporting
Table(s) summarizing all reportring requirements, referencing schedules